## Worksheet 1
Quantity | Data gaps | Instrument | Accuracy according
| (%) |  | to the manufacturer
West Changri Nup AWS (5360 m a.s.l.)
Air temperaturea,b (∘C) | 24 | Temperature and relative humidity probe | ±0.2 ∘C
(Vaisala HMP45C)
Relative humiditya,b (%) | 24 | Temperature and relative humidity probe | ±2 %
(Vaisala HMP45C)
Wind direction (∘) and speedb (m s−1) | 43 | Anemometer (Young 05103-5) | ±3∘ and ±0.3 m s−1
Incident shortwave radiationb (W m−2) | 18 | Net radiometer (Kipp & Zonen CNR4) | ±3 %
Reflected shortwave radiation (W m−2) | 18 | Net radiometer (Kipp & Zonen CNR4) | ±3 %
Incoming longwave radiationb (W m−2) | 24 | Net radiometer (Kipp & Zonen CNR4) | ±3 %
Outgoing longwave radiation (W m−2) | 24 | Net radiometer (Kipp & Zonen CNR4) | ±3 %
Debris temperature at | 24 | Resistance temperature probes (TCA PT100) | ±0.1 ∘C
5, 7.5, 10, and 12.5 cmc (∘C)
Ablation/accumulationc (m) | 33 | Ultrasonic depth gauge (Campbell SR50A), | ±1 cm
Mass balance stake
Pyramid Research Station (5035 m a.s.l.)
Precipitation (kg m−2)b | 0 | Geonor T200B | ±0.1 mm